## field_priority
System | Variable | Type | Description | Priority | Implemented | Reliability | Possible States
timestamp | Africa/Lagos (+01:00) | Numerical |  | 1 | DONE | HIGH
Gateway [0] | VRM Log time offset |  |  | 3
Gateway [0] | ESS Scheduled Charging |  |  | 3
Gateway [0] | Relay 1 state |  |  | 3 |  |  | State1, State2, State3, …..
Gateway [0] | CCGX Relay 2 state |  |  | 3
VE.Bus System [261] | Phase rotation |  |  | 3
VE.Bus System [261] | Input voltage phase 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input voltage phase 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input voltage phase 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input current phase 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input current phase 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input current phase 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input frequency 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input frequency 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input frequency 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input power 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input power 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Input power 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output voltage phase 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output voltage phase 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output voltage phase 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output current phase 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output current phase 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output current phase 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output frequency | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output power 1 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output power 2 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Output power 3 | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Voltage | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Current | Numerical |  | 1 | DONE | HIGH
VE.Bus System [261] | Active input |  |  | 1
VE.Bus System [261] | Active input current limit |  |  | 1
VE.Bus System [261] | VE.Bus state |  |  | 1
VE.Bus System [261] | VE.Bus Error |  |  | 1
VE.Bus System [261] | Switch Position |  |  | 3
VE.Bus System [261] | Temperature |  |  | 1
VE.Bus System [261] | Low battery |  |  | 1
VE.Bus System [261] | Overload |  |  | 1
VE.Bus System [261] | Temperatur sensor alarm |  |  | 1
VE.Bus System [261] | Voltage sensor alarm |  |  | 1
VE.Bus System [261] | High DC Ripple |  |  | 1
VE.Bus System [261] | Temperature L1 |  |  | 1
VE.Bus System [261] | Low battery L1 |  |  | 1
VE.Bus System [261] | Overload L1 |  |  | 1
VE.Bus System [261] | High DC Ripple L1 |  |  | 1
VE.Bus System [261] | Temperature L2 |  |  | 1
VE.Bus System [261] | Low battery L2 |  |  | 1
VE.Bus System [261] | Overload L2 |  |  | 1
VE.Bus System [261] | High DC Ripple L2 |  |  | 1
VE.Bus System [261] | Temperature L3 |  |  | 1
VE.Bus System [261] | Low battery L3 |  |  | 1
VE.Bus System [261] | Overload L3 |  |  | 1
VE.Bus System [261] | High DC Ripple L3 |  |  | 1
VE.Bus System [261] | Charge state |  |  | 1
VE.Bus System [261] | Ignore AC input |  |  | 1
VE.Bus System [261] | Ignore AC input 2 |  |  | 1
Battery Monitor [258] | Voltage | Numerical |  | 1 | DONE | HIGH
Battery Monitor [258] | Current | Numerical |  | 1 | DONE | HIGH
Battery Monitor [258] | Consumed Amphours
Battery Monitor [258] | State of charge |  |  | 3
Battery Monitor [258] | Time to go | Numerical |  | 3 | DONE | VERY LOW
Battery Monitor [258] | Low voltage alarm |  |  | 2
Battery Monitor [258] | High voltage alarm |  |  | 2
Battery Monitor [258] | Low starter-voltage alarm |  |  | 2
Battery Monitor [258] | High starter-voltage alarm |  |  | 2
Battery Monitor [258] | Low state-of-charge alarm |  |  | 2
Battery Monitor [258] | Low battery temperature alarm |  |  | 2
Battery Monitor [258] | High battery temperature alarm |  |  | 2
Battery Monitor [258] | Mid-voltage alarm |  |  | 2
Battery Monitor [258] | Relay status
Battery Monitor [258] | Last discharge
Battery Monitor [258] | Total Ah drawn
Battery Monitor [258] | Time since last full charge
Battery Monitor [258] | Automatic syncs
Battery Monitor [258] | Low voltage alarms |  |  | 1
Battery Monitor [258] | Discharged Energy | Numerical |  | 1 | In Progress
Battery Monitor [258] | Charged Energy | Numerical |  | 1 | In Progress
Tank [20] | Tank level |  |  | 1
Tank [20] | Tank remaining fluid |  |  | 1
Tank [20] | Tank status |  |  | 1
System overview [0] | #1 Low SOC; discharge disabled
System overview [0] | #2 BatteryLife is active
System overview [0] | #3 Charge disabled by BMS
System overview [0] | #4 Discharge disabled by BMS
System overview [0] | #5 Slow charge is active
System overview [0] | #6 Charge disabled by user setting
System overview [0] | #7 Discharge disabled by user setting
System overview [0] | AC Consumption L1 | Numerical | Same as VE Bus output power L1 | 1 | DONE
System overview [0] | AC Consumption L2 | Numerical | Same as VE Bus output power L2 | 1 | DONE
System overview [0] | AC Consumption L3 | Numerical | Same as VE Bus output power L3 | 1 | DONE
System overview [0] | Grid L1 | Numerical |  | 1 | DONE
System overview [0] | Grid L2 | Numerical |  | 1 | DONE
System overview [0] | Grid L3 | Numerical |  | 1 | DONE
System overview [0] | Genset L1 | Numerical |  | 1 | DONE | MEDIUM
System overview [0] | Genset L2 | Numerical |  | 1 | DONE | MEDIUM
System overview [0] | Genset L3 | Numerical |  | 1 | DONE | MEDIUM
System overview [0] | Voltage | Numerical | Same as battery voltage | 1 | DONE
System overview [0] | Current | Numerical | Same as battery current | 1 | DONE
System overview [0] | VE.Bus charge current |  |  | 1
System overview [0] | Battery Power | Numerical | Function of battery current and voltage | 1 | DONE
System overview [0] | VE.Bus charge power |  |  | 1
System overview [0] | Battery SOC
System overview [0] | Battery state |  |  | 2
System overview [0] | Battery Consumed Amphours
System overview [0] | Battery Time to Go | Numerical | Same as Battery Monitor | 1 | DONE | VERY LOW
System overview [0] | DVCC Multiple batteries alarm
System overview [0] | GX Error #48 DVCC with incompatible firmware |  |  | 3
System overview [0] | AC-Input |  |  | 2
System overview [261] | Grid alarm |  |  | 2